{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":93,"n_cols":10,"rows_kept":93,"merged":[[92,1,92,9]]}
["序号","产品名称","产品编号","产品品牌","产品单价","产品单位","产品简介","产品图片","产品所属辅具类别","数量"]
["1","地面防滑产品","6977841090108","康潇达","39","元/个","根据卫生间、厨房、卧室等地面防滑处理需要，配置防滑垫，避免老年人滑倒，抗菌防霉易清洗，提高安全性。",{"$f":"\"已单独提供,文件名为\"&C2","v":"已单独提供,文件名为6977841090108"},"地面和门改造","500"]
["2","斜坡辅具","6977841090115","路达曼","279","元/块","对于地面、门槛等不易消除的高差，可选择斜坡辅具，实现高差平稳过渡。",{"$f":"\"已单独提供,文件名为\"&C3","v":"已单独提供,文件名为6977841090115"},"地面和门改造","500"]
["3","下压式门把手","6977841090122","飞球","119","元/个","可用单手手掌或手指轻松操作，增加摩擦力和稳定性，方便乘轮椅老年人或者手部力量较弱的老年人开门。","已单独提供,文件名为6977841090122","地面和门改造","500"]
["4","门铃","10144407920384","康府特","79","元/套","供视力障碍老年人使用，包括闪光震动门铃、呼叫门铃等。","已单独提供,文件名为10144407920384","地面和门改造","500"]
["5","可双向开启的门","SXKM0001","天与","需现场评估定价，承诺不高于市场均价。","元/套","老年人跌倒后，可从外部开启，便于护理人员及时救助。","已单独提供,文件名为SXKM0001","地面和门改造","500"]
["6","一字扶手","6978069140064","永久亮",44,"元/根","辅助老年人行走、起身、站立、转身和坐下。","已单独提供,文件名为6978069140064","地面和门改造","500"]
["7","过道扶手","10111591450197","永久亮","59","元/米","辅助老年人行走、起身、站立、转身和坐下。","已单独提供,文件名为10111591450197","地面和门改造","500"]
["8","智能门锁","6977841090276","华智达","898","元/套","通过密码、指纹、面部识别等先进手段，便于老年人开门。","已单独提供,文件名为6977841090276","地面和门改造","500"]
["9","蹲便器改坐便器（损坏马桶更换普通马桶）","300坑距：6975786216904\n400坑距：6975786216911","箭牌","849","元/套","通过配置坐便器减轻蹲姿造成的腿部压力，降低老年人如厕下蹲、站立困难。方便乘坐轮椅的老年人使用。","已单独提供,文件名为300坑距：6975786216904\n400坑距：6975786216911","如厕洗浴设备改造","500"]
["10","蹲便器改坐便器（损坏马桶更换智能马桶）","300坑距：6975786217147 \n400坑距：6975786217154  ","箭牌","3999","元/套","通过配置坐便器减轻蹲姿造成的腿部压力，降低老年人如厕下蹲、站立困难。方便乘坐轮椅的老年人使用。","已单独提供,文件名为300坑距：6975786217147 \n400坑距：6975786217154","如厕洗浴设备改造","500"]
["11","适老一体式马桶扶手架","6978069140163","永久亮","645","元/套","马桶高度两侧扶手设置，方便老人起身辅助。PP扶手，弹性防滑扶垫；无需打孔安装，直接安装在坐便器与坐便器盖板之间，扶手可上翻收起或前后移动，适用于关节受限老人的如厕起身。","已单独提供,文件名为6978069140163","如厕洗浴设备改造","500"]
["12","适老智能马桶盖","6937063857873","九牧","2999","元/套","适合居家原座便器：材质为PP缓降盖板，即热式加热方式；通过自动清洗、烘干，可减少老年人因弯腰擦洗引起的跌倒等隐患。","已单独提供,文件名为6937063857873","如厕洗浴设备改造","500"]
["13","坐便椅","6975845600088","福仕得","439","元/个","坐便椅（带便桶）方便体弱或行动不便的老年人就近如厕。","已单独提供,文件名为6975845600088","如厕洗浴设备改造","500"]
["14","一字扶手","6978069140064","永久亮","44","元/根","在坐（蹲）便器旁安装“一”字形或“L”形扶手等，辅助老年人起身、站立、转身和坐（蹲）下。","已单独提供,文件名为6978069140064","如厕洗浴设备改造","500"]
["15","L型扶手","6978069140071","永久亮","119","元/套","在坐（蹲）便器旁安装“一”字形或“L”形扶手等，辅助老年人起身、站立、转身和坐（蹲）下。","已单独提供,文件名为6978069140071","如厕洗浴设备改造","500"]
["16","洗澡椅（浴凳）","6978450990421","恒生","529","元/个","辅助老年人洗澡使用，避免老年人滑倒，提高安全性。折叠时可自行站立，扶手可抬起。","已单独提供,文件名为6978450990421","如厕洗浴设备改造","500"]
["17","坐式淋浴器","6977841090153","迦南","2999","元/套","坐位采用折叠设计，可站可坐，不占空间；采用恒温设计；采用多喷头喷淋臂设计可随意调节角度，雾状喷水方式。","已单独提供,文件名为6977841090153","如厕洗浴设备改造","500"]
["18","洗澡床","6970518811143","乐惠","879","元/套","可充气，环保PVC材质。","已单独提供,文件名为6970518811143","如厕洗浴设备改造","500"]
["19","智能便携洗浴机","10078738908805","作为","4879","元/套","智能助浴，支持擦洗、淋浴，免入水、免移动。","已单独提供,文件名为10078738908805","如厕洗浴设备改造","500"]
["20","浴缸、淋浴房改换浴帘、浴杆","YSGZ0001","天与","需现场评估定价，承诺不高于市场均价。","元/套","拆除浴缸、淋浴房，更换浴帘浴杆，增加淋浴空间，方便照护人员辅助老年人洗浴，以及意外跌倒后的搀扶。","已单独提供,文件名为YSGZ0001","如厕洗浴设备改造","500"]
["21","恒温花洒","6936819653875","箭牌","1659","元/套","采用拨杆式把手，冷热混水阀，龙头连接花洒，具备恒温功能，防止老年人烫伤，可淋浴。","已单独提供,文件名为6936819653875","如厕洗浴设备改造","500"]
["22","抽拉式水龙头","100114309283","箭牌","399","元/套","采用拨杆式把手，冷热混水阀，不锈钢材质、水龙头可抽拉、升降和旋转，方便不同身高老人适用。","已单独提供,文件名为100114309283","如厕洗浴设备改造","500"]
["23","横纵扶手","6978069140064","永久亮","44","元/根","根据卫生间墙体情况，视情安装横向结合纵向扶手或L型扶手、135度扶手、T型扶手等，辅助老年人站立支撑。","已单独提供,文件名为6978069140064","如厕洗浴设备改造","500"]
["24","L型扶手","6978069140071","永久亮","119","元/套","根据卫生间墙体情况，视情安装横向结合纵向扶手或L型扶手、136度扶手、T型扶手等，辅助老年人站立支撑。","已单独提供,文件名为6978069140071","如厕洗浴设备改造","500"]
["25","135度扶手","6978069140217","永久亮","96","元/套","根据卫生间墙体情况，视情安装横向结合纵向扶手或L型扶手、137度扶手、T型扶手等，辅助老年人站立支撑。","已单独提供,文件名为6978069140217","如厕洗浴设备改造","500"]
["26","T型扶手","6978069140170","永久亮","216","元/套","根据卫生间墙体情况，视情安装横向结合纵向扶手或L型扶手、138度扶手、T型扶手等，辅助老年人站立支撑。","已单独提供,文件名为6978069140170","如厕洗浴设备改造","500"]
["27","适老台盆和镜柜","02020022001160","箭牌","1399","元/套","台面为陶瓷/人造石，釉面洁净平滑（包含下水器、软管）；台盆柜门内凹设计，方便轮椅出入；用镜面倾斜且角度可微调，方便老人使用。","已单独提供,文件名为02020022001160","如厕洗浴设备改造","500"]
["28","厨房适老吊柜","CFDG0001","天与","需现场评估定价，承诺不高于市场均价。","元/套","吊柜具有自由升降功能，方便老年人取物使用。","已单独提供,文件名为CFDG0001","厨房设备改造","500"]
["29","适老灶台","SLZT0001","天与","需现场评估定价，承诺不高于市场均价。","元/套","柜体具备自由升降或留出容膝空间、低位灶台等，方便轮椅进入或矮小老人适用。","已单独提供,文件名为SLZT0001","厨房设备改造","500"]
["30","适老操作台","CZT0001","天与","需现场评估定价，承诺不高于市场均价。","元/套","降低操作台高度或留出容膝空间，方便轮椅进入或矮小老人适用。","已单独提供,文件名为CZT0001","厨房设备改造","500"]
["31","适老餐桌","6977841090160","盛臣","615","元/张","餐桌应稳固，桌边角处采用倒圆工艺，无锐角，底部应方便轮椅进入。","已单独提供,文件名为6977841090160","厨房设备改造","500"]
["32","燃气泄露报警器","6977841090061","松椿果","175","元/个","发生燃气泄露意外时，响铃提醒老年人及时处理，实时传输数据，向老年人亲属及为老服务组织推送意外风险信息。","已单独提供,文件名为6977841090061","厨房设备改造","500"]
["33","炉灶自动熄火保护装置","6977841090344","苏尔玛","799","元/套","避免因老年人忘记关闭灶具造成的火灾事故。","已单独提供,文件名为6977841090344","厨房设备改造","500"]
["34","防干烧与定时灶具","100050503142","海尔","898","元/套","熄火保护，防水溢出时会自动断火断气。气电隔离保护，防干烧保护。避免因老年人忘记关闭灶具而引起火灾。",{"$f":"\"已单独提供,文件名为\"&C35","v":"已单独提供,文件名为100050503142"},"厨房设备改造","500"]
["35","多功能护理床（手动）","10147099999088","嘉顿","2179","元/张","本产品适用于不能下床或不便下床的病人，为他们提供休养、治疗及日常生活必须的特护服务，提高护理水平，改善病人生活质量。","已单独提供,文件名为10147099999088","卧室改造","500"]
["36","多功能护理床（电动）","6977841090405","嘉顿","2999","元/张","适用于不能下床或不便下床的病人，为他们提供休养、治疗及日常生活必须的特护服务，提高护理水平，改善病人生活质量。","已单独提供,文件名为6977841090405","卧室改造","500"]
["37","床边扶手","6978450991121","恒生","556","元/个","在老年人床边安装可升降式扶手，辅助老年人起身，平稳下床，避免翻身意外跌落。","已单独提供,文件名为6978450991121","卧室改造","500"]
["38","防压疮坐垫","6970518810931","乐惠","35.9","元/个","重新分布臀部与背部受力，避免长期乘坐轮椅或卧床老年人发生严重压疮。","已单独提供,文件名为6970518810931","卧室改造","500"]
["39","防压疮靠垫","04006009001179","乐惠","41","元/个","重新分布臀部与背部受力，避免长期乘坐轮椅或卧床老年人发生严重压疮。","已单独提供,文件名为04006009001179","卧室改造","500"]
["40","防压疮床垫","6977841090375","二友","779","元/张","重新分布臀部与背部受力，避免长期乘坐轮椅或卧床老年人发生严重压疮。","已单独提供,文件名为6977841090375","卧室改造","500"]
["41","适老床头柜","6977841090313","盛臣","469","元/个","床头柜应稳固，采用多层板材料，高度≥650mm，以辅助老人起立。","已单独提供,文件名为6977841090313","卧室改造","500"]
["42","助起床垫","6970518813642","康护佳","2499","元/张","以电力驱动替代人力，放置床上、沙发等平整处，行动不便老年人可自主操作起身、起床等坐卧位置，具有护理床起背抬腿功能。","已单独提供,文件名为6970518813642","卧室改造","500"]
["43","适老化净味透气床垫","JWCD0001","爱柯","900","元/张","可快速分解汗味体味以及卧床产生的排泄物等异味，同时具有抗菌透气特性，提高老年人生活质量。","已单独提供,文件名为JWCD0001","卧室改造","500"]
["44","坠床监测雷达","6977841090016","松椿果","785","元/个","对老年人坠床情况进行监测，可通过电话语音、短信等多种手段，向监护人等发出预警信息。","已单独提供,文件名为6977841090016","卧室改造","500"]
["45","感应小夜灯","6974478590056","朗美科","46","元/个","采用红外线感应装置，LED节能灯泡，灯亮时间应适应老年人安全行走的要求，适用于卧室、厕所、厨房、通道等，人走灯灭，方便老人起夜。","已单独提供,文件名为6974478590056","物理环境改造","500"]
["46","电源插座及开关改造","100049165526","公牛","249","元/个","配置智能插座，可联动控制实现对家电设备的用电监控和安全管理；配置大按键开关，便于老年人操作。","已单独提供,文件名为100049165526","智能监测跟进","500"]
["47","防撞护角、防撞条、提示标志","6977841090177","佳诚","7.9","元/个","在家居尖角或墙角安装防撞护角或防撞条，避免老年人磕碰划伤，必要时粘贴防滑条、警示条等符合相关标准和老年人认知特点的提示标识。","已单独提供,文件名为6977841090177","智能监测跟进","500"]
["48","适老椅","05010018001187","兴上","299","元/把","方便老年人坐下起身。","已单独提供,文件名为05010018001187","智能监测跟进","500"]
["49","适老桌","6977841090160","盛臣","615","元/张","方便老年人坐下起身就餐。","已单独提供,文件名为6977841090160","智能监测跟进","500"]
["50","换鞋凳","6977841090191","盛臣","256","元/个","方便老年人坐着换鞋。","已单独提供,文件名为6977841090191","智能监测跟进","500"]
["51","电动衣架","05011044001188","美伴居","1379","元/个","电动升降，22个防风孔，放衣服更贴合、防掉落，通风好；多功能可收放双晾被杆，满足多样晾晒需求。自带阳台灯，大面积照明，灯光柔和不刺眼，可充分照亮晾衣区域。","已单独提供,文件名为05011044001188","智能监测跟进","500"]
["52","助起沙发","05012031001189","奥睿","3149","元/个","高回弹海绵，柔软舒适有支撑力，外套为防水防污皮质软包。普通电机，一键启动，可帮助老人轻松站起。","已单独提供,文件名为05012031001189","智能监测跟进","500"]
["53","一键呼叫装置","0600100200174","松椿果","309","元/个","安装在卧室床头、卫生间坐（蹲）便器旁、淋浴区等位置，用于老年人发生紧急情况时的主动报警，支持语言（方言）呼救。实时传输数据，如发生紧急呼叫，向老年人亲属及为老服务组织推送意外风险信息。","已单独提供,文件名为0600100200174","智能监测跟进","500"]
["54","人体感应探测器","6977841090023","松椿果","319","元/个","安装在客厅、卫生间、卧室等居家环境中，监测老年人活动信息。实时传输数据，如发生老年人长时间在某个区域，向老年人亲属及为老服务组织推送意外风险信息。","已单独提供,文件名为6977841090023","智能监测跟进","500"]
["55","门磁开关","6977841090085","松椿果","149","元/套","安装在老年人家庭室内外出入主门口处，实时传输数据，如发生长期未开关门情况，向老年人亲属及为老服务组织推送意外风险信息。","已单独提供,文件名为6977841090085","智能监测跟进","500"]
["56","呼叫门铃","10144407920384","康府特","79","元/套","采用无线传输，以震动闪光方式提醒老人有客来访。","已单独提供,文件名为10144407920384","智能监测跟进","500"]
["57","溢水报警器","6970300361047","松椿果","216","元/个","发生溢水意外时，响铃提醒老年人及时处理。实时传输数据，向老年人亲属及为老服务组织推送意外风险信息。","已单独提供,文件名为6970300361047","智能监测跟进","500"]
["58","烟雾报警器","6977841090047","松椿果","188","元/个","对周围环境中烟雾浓度监测，响铃提醒老年人及时处理。可用手机、电话语音、短信等多种手段，同时向老人子女等紧急联系人发出报警信息。","已单独提供,文件名为6977841090047","智能监测跟进","500"]
["59","电力脉象仪","6975803170028","千居智","939","元/个","用电管理人工智能产品，在传统的用电监测的基础上实现对老人行为的监测，基于过去的生活习惯，进行异常行为的安全预警。","已单独提供,文件名为6975803170028","智能监测跟进","500"]
["60","智能监控摄像头","100076706471","普联","223","元/个","同时具备视频双向通话，用药提醒，SOS一键紧急联系等功能，适用于老人日常监护，可通过短信和APP内提醒告知子女等相关人员，视频存储一周以上。","已单独提供,文件名为100076706471","智能监测跟进","500"]
["61","跌倒监测雷达","6977841090016","松椿果","785","元/个","对老年人跌倒情况进行监测，可以通过电话语音、短信等多种手段，向监护人等发出预警信息。","已单独提供,文件名为6977841090016","智能监测跟进","500"]
["62","生命体征监测雷达","6977841090009","松椿果","649","元/个","对老年人生命体征进行监测，可通过电话语音、短信等多种手段，向监护人等发出预警信息。","已单独提供,文件名为6977841090009","智能监测跟进","500"]
["63","生活自助餐具","6976105909088","爱颐康","149","元/套","包括防洒碗（盘）、助食筷、弯柄勺（叉），辅助老年人进食。适老配重餐具，方便上肢及神经系统有功能障碍的老年人进食。","已单独提供,文件名为6976105909088","适老辅具适配","500"]
["64","骨传导助听器","6977841090399","博音","1749","元/套","骨传导助听不入耳不伤听力，通过头骨、颌骨把声音传递到听觉神经。七段频率可自主选择，支持左右耳独立音量调节。适用轻度、中度、及重度听力补偿。","已单独提供,文件名为6977841090399","适老辅具适配","500"]
["65","全数字耳内助听器","100069084925","科大讯飞","1689","元/套","功能:供气导性听力损失者补偿听力使用。\n参数:类别：入耳式 电源方式：USB充电 贮藏条件：温度：-20℃~55℃，相对湿度≤93%，大气压：86KPa~106KPa通风、无腐蚀性气体 结构及组成：耳机、充电盒、电源线。","已单独提供,文件名为100069084925","适老辅具适配","500"]
["66","全数字耳背助听器","100163668478","科大讯飞","5489","元/套","功能: 供气导性听力损失患者补偿听力用。\n参数:类别：耳挂式 电源方式：充电 结构及组成：耳背式助听器主要由外壳、麦克风、信号处理芯片、电池、受话器、耳塞组成 调节方式：按钮调节 贮藏条件：温度-20°C-55℃之间，相对湿度≤93%，大气压：86kPa~106kPa。",{"$f":"\"已单独提供,文件名为\"&C67","v":"已单独提供,文件名为100163668478"},"适老辅具适配","500"]
["67","放大镜","6977841090214","星特","39","元/个","带LED灯，方便老人阅读。","已单独提供,文件名为6977841090214","适老辅具适配","500"]
["68","单头手杖","07008001001194","福仕得","39","元/根","辅助老年人平稳站立和行走。","已单独提供,文件名为07008001001194","适老辅具适配","500"]
["69","四脚手杖","6975845603768","福仕得","65","元/根","辅助老年人平稳站立和行走。","已单独提供,文件名为6975845603768","适老辅具适配","500"]
["70","智能手杖"," 07012001001199","福仕得","239","元/根","内置跌倒感应预警装置，辅助老年人平稳站立和行走。","已单独提供,文件名为 07012001001199","适老辅具适配","500"]
["71","凳拐","6975845603379","福仕得","106","元/个","辅助老年人平稳站立和行走，带座板可休息。","已单独提供,文件名为6975845603379","适老辅具适配","500"]
["72","普通轮椅","07014001001203","福仕得","828","元/辆","自推或由家人、护理人员辅助推行，增大老年人活动空间范围。","已单独提供,文件名为07014001001203","适老辅具适配","500"]
["73","高靠背轮椅","07014001004200","福仕得","1399","元/辆","自推或由家人、护理人员辅助推行，增大老年人活动空间范围。","已单独提供,文件名为07014001004200","适老辅具适配","500"]
["74","电动轮椅","6975845600040","福仕得","5086","元/辆","自推或由家人、护理人员辅助推行，增大老年人活动空间范围。","已单独提供,文件名为6975845600040","适老辅具适配","500"]
["75","老年助行推车","07017029001208","爱心","276","元/辆","可助行可推行，配置座椅靠背可休息；内置刹车带驻车功能，上提折叠设计，方便收纳；配置大容量储物袋。","已单独提供,文件名为07017029001208","适老辅具适配","500"]
["76","老年电动代步车","10122578185333","皮皮熊","6999","元/辆","智能控速，下坡无需刹车，松开转把即停车，具有实时定位、一键呼叫、双向语音通话（方言识别）等功能。","已单独提供,文件名为10122578185333","适老辅具适配","500"]
["77","轮椅座垫","6970518810931+04006009001179","乐惠","72","元/个","可分散人体重力，减轻了压力给尾骨、坐骨带来的压迫。","已单独提供,文件名为6970518810931+04006009001179","适老辅具适配","500"]
["78","移位机","6975845600101","福仕得","2789","元/个","解决行动不便老年人从轮椅到沙发、床、坐便器、座椅等之间的相互挪位难题。","已单独提供,文件名为6975845600101","适老辅具适配","500"]
["79","防走失胸卡","6974892630109","豪恩","239","元/个","集成老年人身份信息，可监测定位（或具备电子围栏功能），避免老年人走失。实时传输数据，向老年人亲属及为老服务组织推送意外风险信息。","已单独提供,文件名为6974892630109","适老辅具适配","500"]
["80","理疗电烤灯","10020737752903","仁和","196","元/个","通过红外线或电磁波产生热量，对人体产生温热效应，从而达到缓解老年人疼痛、促进血液循环、消除炎症等多种健康效果。","已单独提供,文件名为10020737752903","适老辅具适配","500"]
["81","多参数监护仪","100027216311","可孚","2698","元/台","通过各种功能模块，实时检测老年人的心电信号、心率、血氧饱和度、血压、呼吸频率和体温等重要参数，实现对各参数的监督报警。","已单独提供,文件名为100027216311","适老辅具适配","500"]
["82","实时心电监护系统","100029918656","乐普","2889","元/个","实时检测老年人的心电信号，实现监督报警。","已单独提供,文件名为100029918656","适老辅具适配","500"]
["83","毫米波雷达睡眠检测仪","6977841090009","松椿果","649","元/个","利用毫米波雷达技术来监测老年人睡眠过程中的生命体征，实现监督报警。","已单独提供,文件名为6977841090009","适老辅具适配","500"]
["84","血压计","07026017001211","鱼跃","229","元/个","测量老人血压情况。","已单独提供,文件名为07026017001211","适老辅具适配","500"]
["85","血氧仪","07027017001113","鱼跃","148","元/个","测量老人血氧情况。","已单独提供,文件名为07027017001113","适老辅具适配","500"]
["86","血糖仪","07028017001114","鱼跃","149","元/个","测量老人血糖情况。","已单独提供,文件名为07028017001114","适老辅具适配","500"]
["87","家用制氧机","6933257929494","鱼跃","4666","元/台","方便老年人居家及时吸氧，改善身体状况。","已单独提供,文件名为6933257929494","适老辅具适配","500"]
["88","智能药盒","07030017001116","万孚","196","元/个","内置智能提醒系统，可设置多种提醒模式，当老年人需要服药时，通过语音播报、震动提示、灯光闪烁等方式提醒。","已单独提供,文件名为07030017001116","适老辅具适配","500"]
["89","适老智能按摩椅","6977841090252","天凤","4999","元/台","疏通经络，帮助老年人消除疲劳、缓解疼痛，促进身心健康。","已单独提供,文件名为6977841090252","适老辅具适配","500"]
[]
[]
[null,"报名单位：上海天与智慧养老服务有限公司"]